## Slide 1
1M1B AI FOR SUSTAINABILITY VIRTUAL INTERNSHIP
CampusWatt AI: Smart Energy Optimization & Audit Assistant
An AI-Driven Solution for Campus HVAC and Lighting Efficiency Aligned with UN SDGs
Project Identity & Author Information:
• Candidate Name: Senku Lokesh
• Institution: The ICFAI University, Raipur
• Program Partner: In collaboration with IBM SkillsBuild & AICTE
• Target SDGs: SDG 7 (Affordable & Clean Energy) | SDG 11 (Sustainable Cities & Communities)

## Slide 2
SLIDE 2 | CONTEXT & PURPOSE
Problem Statement & SDG Alignment
THE REAL-WORLD CHALLENGE
• Campus Energy Waste: Academic campuses operate extensive facilities (lecture halls, labs, libraries) where air conditioning and lighting frequently run continuously regardless of actual room occupancy.
• Timetable vs. Reality Mismatch: Static class schedules do not reflect cancellations, early dismissals, or low student density, causing massive idle energy waste and high utility bills.
TARGET STAKEHOLDERS
Campus facility managers, university estate officers, administrative heads, and student environmental societies.
UNITED NATIONS SDG MAPPING
SDG 7: Affordable and Clean Energy
• Target 7.3: Double the global rate of improvement in energy efficiency. • Role: Eliminates unnecessary grid draw via intelligent cooling algorithms and dynamic daylight harvesting.
SDG 11: Sustainable Cities & Communities
• Target 11.6: Reduce environmental impact of educational and public infrastructure. • Role: Converts high-emission campus buildings into smart, decarbonized, eco-conscious learning facilities.

## Slide 3
SLIDE 3 | SOLUTION DESIGN
Proposed AI Solution & Architecture
1. Data Ingestion Layer
Ingests lecture timetable schedules, room capacity, actual/expected headcounts, and live ambient weather temperature.
2. AI Optimization Engine
Evaluates ambient heat load vs. occupancy density to determine optimal HVAC setpoints (24°C–26°C dynamic regulation) and lighting zones.
3. Automated Audit & Advisory
Delivers actionable operational directives to facility teams and calculates projected kilowatt-hour (kWh) and CO2 reductions.
WHY TRADITIONAL TIMERS FAIL & WHY AI IS ESSENTIAL:
Non-linear relationships between outdoor temperature, indoor thermal mass, occupancy density, and daylight availability make static timer switches inefficient. CampusWatt AI continuously recalculates the optimal comfort-to-consumption frontier, ensuring zero waste while maintaining ASHRAE-compliant student comfort.

## Slide 4
SLIDE 4 | IMPLEMENTATION
Prototype & Technical Workflow
WORKFLOW PIPELINE
• Input Layer:
Timetable data, outdoor weather API, classroom dimensions & capacity.
• Processing Layer:
Thermal comfort estimation, HVAC setpoint logic, daylight harvesting rules.
• Advisory Layer:
Natural-language operational schedule and anomaly alerts for facility staff.
PROTOTYPE DEMONSTRATION & AUDIT TEST
Sample Input Test Case:
Room: LH-102 (ICFAI) | Capacity: 60 | Scheduled Headcount: 35 | Ambient Temp: 33.5°C | Duration: 3 Hours
System Audit Output:
• Operational Status: ACTIVE OPTIMIZED
• HVAC Setpoint: Adjusted to 25.0°C (Dynamic comfort mode)
• Lighting Policy: Full On (Sufficient density across rows)
• Baseline Consumption: 15.00 kWh
• Optimized Consumption: 11.62 kWh
• Single-Session Savings: 3.38 kWh (22.5% Reduction) | 2.77 kg CO2e Avoided
• Campus Daily Savings: ~14.8 kWh/day per block (11.2 kg CO2e/day)

## Slide 5
SLIDE 5 | ETHICS & GOVERNANCE
Responsible & Ethical AI Principles
Fairness & Inclusivity
Ensures uniform thermal comfort across all campus facilities (labs, general lecture halls, faculty blocks) without preferential treatment or biased cooling distribution.
Transparency & Explainability
Rather than operating as an inscrutable black box, the system provides explicit human-readable rationale (e.g., ambient heat surge, occupancy ratios) for every advisory.
Privacy & Data Protection
Relies strictly on aggregate headcount figures and academic timetables. Strictly zero biometric scanning, facial recognition, or video surveillance data is stored or collected.
Human-in-the-Loop Governance
Acts as a decision-support advisory system for facility engineers. Critical override controls remain with human operators to prevent accidental shutoffs during events.

## Slide 6
SLIDE 6 | VISION & SCALING
Expected Impact & Future Roadmap
PROJECTED QUANTITATIVE IMPACT
• 15%–25% Reduction in Campus Electricity Usage: Significant trimming of non-peak and idle power consumption in educational blocks.
• Measurable Carbon Abatement: Direct reduction in institutional greenhouse gas emissions (approx. 0.82 kg CO2e per kWh saved), supporting university NAAC/NIRF green audit metrics.
• Operational Cost Savings: Direct reduction in monthly commercial electricity utility bills for the university administration.
FUTURE DEVELOPMENT ROADMAP
• IoT Smart Relay Integration: Transition from manual advisory notifications to automated Modbus/MQTT hardware relay actuation for contactless switching.
• Campus Solar Balancing: Sync AI scheduling with rooftop solar PV generation profiles to prioritize heavy loads during maximum renewable solar output.
• Multi-Campus Expansion: Centralized multi-tenant dashboard monitoring energy telemetry across multiple institutional campuses.